AEGEA SANEAMENTO E PARTICIPAÇÕES LTDA., a private legal entity, invites your company to participate in the process of Request for Information – Implementation of Energy Efficiency Projects in Water and Wastewater Facilities through Performance Contracts, within the area under the Concessionaire’s responsibility.

OBJECTIVE/PURPOSE:

This RFI (Request for Information) aims to identify and qualify companies specialized in energy efficiency in the water and wastewater sector , with proven technical capacity for fieldwork , covering all AEGEA concession areas nationwide .

The aim is to find companies able to work directly on real water supply and sewage systems , carrying out:

- Detailed technical survey of installed equipment;

- Analysis of actual operation (processes, load regimes, hydraulic curves, control strategies);

- Identification of improvement opportunities focused on reducing the energy indicator kWh/m³ ;

- Proposal of solutions based on technological replacement, process optimization, and operational adjustments ;

- Project structuring with contracts exclusively based on performance , in which the partner will be responsible for providing the full CAPEX for the listed projects and will be remunerated through a percentage of the effectively measured energy savings , based on formal measurements conducted after implementation , during a previously defined contractual period , also including structured periods for measurement and verification before and after implementation . Projects must strictly follow AEGEA’s list of approved suppliers and technical standards for their execution, with these standards aligned to top-tier industrial suppliers widely recognized in the market, not representing an incompatible technological restriction with established solutions.

This RFI does not constitute a request for commercial proposals but will serve as a basis for the technical pre-qualification of suppliers for future RFQs/RFPs and performance contracts for energy efficiency.

# GENERAL PROVISIONS

Regarding Receipt of Acceptance:

The responses containing the requested information will be received, without exception, until 12:00 PM on March 15, 2026 via Email system.

# TECHNICAL SCOPE

Participating companies must demonstrate the ability to perform, in an integrated manner:

- Field energy diagnosis (technical walkdown);

- Collection and analysis of operational and energy data;

- Consumption modeling and identification of energy losses;

- Proposing improvements to equipment, systems, and processes;

- Evaluation of the technical and financial feasibility of the solutions.

Types of Equipment and Systems of Interest

Provide proven experience with typical sanitation systems, including, but not limited to:

- Water and sewage lift stations;

- Pumping systems (intake, transfer, distribution, and disposal);

- Electric motors (low and medium voltage);

- Blowers, compressors, and aerators (WWTP and WTP);

- Aeration systems;

- Drive systems (soft starters, frequency inverters);

- Automation, control, and supervision (Control strategies);

- Auxiliary systems (compressed air, industrial lighting);

- Process instrumentation (flow, pressure, level, energy).

# METHODOLOGICAL APPROACH

Describe in detail the methodology used for energy efficiency projects, covering:

Field Diagnosis

- Physical survey methodology for assets;

- Types of measurements performed (electrical, mechanical, thermal, etc.);

- Instrumentation used (energy analyzers, ultrasound, thermography, dataloggers, etc.);

- Typical measurement campaign duration.

Operational and Process Analysis

- Assessment of operating regimes (partial load, intermittence, redundancies);

- Analysis of control and automation strategies;

- Identification of operational inefficiencies and process optimization opportunities.

Quantification of Energy Gains

- Methodology for calculating energy baseline;

- Main indicator: kWh/m³ pumped or treated , according to the system analyzed;

- Methods for estimating and/or measuring savings (e.g.: IPMVP – specify the option used);

- Clear definition of pre-implementation and post-implementation measurement periods;

- Treatment of external variables (flow, hydraulic load, seasonality, climate);

- Approach for verification and validation (M&V) applicable to performance contracts .

# EXPECTED DELIVERABLES

Describe the typical deliverables generated at the end of a diagnosis/project, such as:

- Detailed technical report of energy diagnosis;

- Prioritized list of energy efficiency opportunities;

- Technical description of proposed solutions;

- Estimate of CAPEX and OPEX;

- Financial analysis (Payback, NPV, IRR – when applicable);

- Estimate of reduction in consumption (kWh), demand (kW), and CO ₂ emissions;

- Implementation roadmap.

# EXPERIENCE AND REFERENCES

Provide:

- Company experience in similar projects (minimum of X years);

- Segments served (industrial, sanitation, utilities, oil and gas, etc.);

- Examples of projects carried out with a focus on field and operational analysis;

- Results obtained (average percentage of savings, absolute values, when possible);

- Main clients (optional, respecting confidentiality).

# TECHNICAL TEAM

Describe:

- Structure of the team involved in the projects;

- Professional profiles (electrical, mechanical, automation, process engineering, etc.);

- Relevant certifications (e.g.: CEM, CMVP, CREA, ISO 50001, PMP, etc.);

- Ability to mobilize for field activities.

# TECHNOLOGICAL INDEPENDENCE

Clearly state:

- If the company is independent from manufacturers;

- If it operates as an integrator, equipment supplier, or consultancy only;

- Possible conflicts of interest and how they are handled.

# COMMERCIAL OPERATING MODEL

Report experience and approach considering:

- Contracts will be exclusively performance-based ;

- Projects must include formal periods of measurement and verification before and after implementation ;

- Payment will be conditioned on proven energy savings.

Describe:

- Previous experience with performance contracts (ESCO);

- Methodology for defining baseline and guarantees of results;

- Typical contractual structure (risk, gain sharing);

- Flexibility for pilot projects (POC) in AEGEA operational units.

# HEALTH, SAFETY, AND COMPLIANCE

Report:

- EHS policies;

- Experience in critical industrial environments;

- Relevant certifications or practices.